## Slide 2: PTP 0007 ACCREDIA
The interlaboratory circuit is organized in agreement with international guidelines relative to the organization and management of interlaboratory circuits UNI CEI EN ISO/IEC 17043: 2010
Statistical data treatment in InterCinD is INSPIRED by ISO 13528/2015 and IUPAC Guidelines
Peculiarities of INTERCIND
Natural matrixes (unknown concentration)
Replicates (accuracy&precision)
Statistical treatment (Determination of extremes/blunders with non-parametric method)

## Slide 3: Determination of assigned value
from: Piotr Robouch (JRC) - 9th International Workshop on Proficiency Testing (9-12 October 2017, Portoroz, Slovenia)

## Slide 4: InterCinD procedure
Use σp
Ss<= 0.3 σp
Homogeneity and stability

## Slide 5: InterCinD procedure
Data from Labs
Form not filled in properly?
InterCinD input form
Use σp
First check
Ss<= 0.3 σp
Homogeneity and stability

## Slide 6: InterCinD procedure
Data from Labs
Form not filled in properly?
Valid data
Data
removed
InterCinD input form
Use σp
Data are extremes?
First check
Ss<= 0.3 σp
Homogeneity and stability
Statistical analysis of the treated dataset

## Slide 7: InterCinD procedure
Data from Labs
Form not filled in properly?
Valid data
Data
removed
InterCinD input form
MEAN or MEDIAN
No assigned value
Assigned value and σpt = 30% a priori
Use σp
Statistical evaluation is performed on the dataset reporting the averaged value of the three replicates for every chemical species/index and lab
Data are extremes?
Nlab>=12
Kernel plot
Simmetry of data?
RSD%<55%
extremes <20%
U < 0.3 σpt
First check
Ss<= 0.3 σp
Homogeneity and stability
If yes, use median (robust statistics)
TEST1
TEST2
TEST1b
TEST1b
TEST3
TEST2b
Statistical analysis of the treated dataset
No assigned value
no
no

## Slide 8: InterCinD procedure
Data from Labs
Form not filled in properly?
Valid data
Data
removed
InterCinD input form
MEAN or MEDIAN
No assigned value
Assigned value and σpt = 30% a priori
Use σp
The final step is the EVALUATION OF PERFORMANCE on the entire dataset including replicates
Precision (r-range)
Accuracy (z-score)
Statistical evaluation is performed on the dataset reporting the averaged value of the three replicates for every chemical species/index and lab
Data are extremes?
Nlab>=12
Kernel plot
Simmetry of data?
RSD%<55%
extremes <20%
U < 0.3 σpt
First check
Ss<= 0.3 σp
Homogeneity and stability
If yes, use median (robust statistics)
TEST1
TEST2
TEST1b
TEST1b
TEST3
TEST2b
Statistical analysis of the treated dataset
No assigned value
no
no

## Slide 9: InterCinD procedure: last improvements
Treated dataset without extremes but including outliers;
Sigma pt = 30% of consensus value based on previous PTs;
RSD < 55% never > 100%;
Stability and homogeneity check;
Sigma pt = 30% of consensus value based on previous PTs.

## Slide 10: Termovalorizzatore di Bolzano

## Slide 14
Test di omogeneità come da norma UNI EN15259:2008 in condizioni di lavoro normale dell’impianto
Verifiche effettuate sul punto di emissione a 20 m
Monitorati 32 punti distribuiti su quattro assi, utilizzando 8 bocchelli
I parametri verificati sono CO, NOx, O2, CO2, temperatura e velocità
Il flusso è risultato omogeneo per gli scopi del progetto

## Slide 18: Misurandi
PCDD/F
PCB
Umidià
CO, NOx, O2, CO2

## Slide 19: Partecipanti
 | Altezza camino | Punto di prelievo | Laboratorio | 
1 | Sala SME 30m | Flangia 3 Punto a 0,71 m | APPA BZ | 
 | Sala SME 30m | Flangia 3 Punto a 0,71 m | APPA BZ | 
2 | Sala SME 30m | Flangia 2 Punto a 0,71 m | ARPA VENETO | Dip. Belluno
 | Sala SME 30m | Flangia 2 Punto a 0,71 m | ARPA VENETO | Dip. Belluno
 | Sala SME 30m | Flangia 2 Punto a 0,71 m | ARPA VENETO | Dip. Treviso
 | Sala SME 30m | Flangia 2 Punto a 0,71 m | ARPA VENETO | Dip. Venezia
3 | Punto camp. 20m | Flangia 7 Punto a 0,43 m | ECORICERCHE | 
4 | Punto camp. 20m | Flangia 6 Punto a 0,43 m | L.A.V WHITE LAB | 
 | Punto camp. 20m | Flangia 6 Punto a 0,43 m | L.A.V WHITE LAB | 
5 | Punto camp. 20m | Flangia 1 Punto a 0,71 m | CSA | 
 | Punto camp. 20m | Flangia 1 Punto a 0,71 m | CSA | 
6 | Sala SME 30m | Flangia 1 Punto a 0,71 m | ECO-CENTER | 
 | Sala SME 30m | Flangia 1 Punto a 0,71 m | ECO-CENTER | 

## Slide 20: Preliminary results
Chart: PT Camino
| ARPAV Ho | ARPAV MRU | APPA1 | APPA2 | CSA | ECORIC | WhiteLab | ECOCENTER
O2 % | 9.7 | 10.1 | 9.9 | 9.8 | 10 | 9.6 | 9.8 | 9.8
CO2 % | 9.4 | 9.1 | 9.4 | 9.4 | 9.3 | 9.8 | 9.6 | 8.75
CO mg/Nm³ | 6.7 | 0.6 | 2.3 | 4.83
NOx mg/Nm³ | 28 | 25.3 | 28.3 | 28.1 | 6.5 | 30 | 14 | 54.5
SO2 mg/Nm³ | 3.4 | 0.4
Umidità: 14.6% v/v | 14.6 | 14.1 | 13.5 | 12.9 | 13.6 | 13.7 | 8.7
Chart: 
| O2 % | CO2 % | CO mg/Nm³ | NOx mg/Nm³ | SO2 mg/Nm³ | Umidità: 14.6% v/v
 | 9.8375 | 9.3437 | 3.6075 | 26.8375 | 1.9 | 13.0143

## Slide 21
Vi aspettiamo a Riva del Garda -Trento

## Slide 22: Grazie e buon appetito!